PNNL SURFACE METEOROLOGICAL STATIONS OPERATED DURING VTMX AND CBNP FIELD STUDIES IN SALT LAKE CITY, UTAH - OCTOBER 2000

May 25, 2001

CONTACTS:  CBNP – K. Jerry Allwine (jerry.allwine@pnl.gov)

VTMX – Jerome D. Fast (jerome.fast@pnl.gov)

| ID | LONGITUDE (deg) | LATITUDE (deg) | UTM E (m) | UTM N (m) | ELEV (m MSL) | BLD. HT. (m) | PROJECT |
| --- | --- | --- | --- | --- | --- | --- | --- |
| M01 | 111.9367 | 40.5517 | 420694 | 4489410 | 1349 | 0 | VTMX |
| M02 | 111.8893 | 40.7710 | 424950 | 4513716 | 1328 | 121 | CBNP |
| M03 | 111.8757 | 40.6764 | 425995 | 4503205 | 1308 | 6 | VTMX |
| M04 | 111.8238 | 40.7124 | 430417 | 4507157 | 1406 | 0 | VTMX |
| M05 | 112.0258 | 40.6807 | 413309 | 4503819 | 1360 | 10 | VTMX |
| M06 | 111.8067 | 40.5731 | 431718 | 4491687 | 1564 | 8 | VTMX |
| M07 | 111.8552 | 40.5833 | 427622 | 4492856 | 1435 | 0 | VTMX |
| M08 | 111.9055 | 40.7673 | 423582 | 4513316 | 1290 | 20 | CBNP |
| M09 | 111.8698 | 40.7602 | 426581 | 4512503 | 1290 | 4 | CBNP |
| M10 | 111.8913 | 40.7542 | 424763 | 4511852 | 1320 | 8 | CBNP |
| M11 | 111.9117 | 40.7053 | 422983 | 4506446 | 1291 | 11 | VTMX |

| ID | NAME | ADDRESS |
| --- | --- | --- |
| M01 | South Jordan City Hall | 11175 Redwood Road |
| M02 | LDS Administration Building | State and North Temple |
| M03 | Moss Elementary School | 500 East and 4399 South |
| M04 | Parley’s West | 2300 East and 2700 South |
| M05 | Hunter High School | 5600 West and 4200 South |
| M06 | Granite Elementary School | 3100 East and 9760 South |
| M07 | Sandy Senior Center | 1300 East and 9400 South |
| M08 | The Warehouse | 500 West and 100 South |
| M09 | Master Muffler Building | Main and 700 South |
| M10 | Wonder Bread Bakery | 700 East and 400 South |
| M11 | Central Valley Water Facility | 800 W Central Valley Road |

NOTES:

- NAD 27 UTM (zone 12) coordinates scaled from 7.5’ quadrangle maps and converted to NAD 83 UTM coordinates.  Long-Lat from program.

- Elevations (terrain) from 7.5’ quadrangle maps. (Not include building)

- Winds measured at 3 meters above ground or above building top.

- Temperatures measured at 1.5 meters above ground or above building top.

- Campbell Scientific Inc. stations used with cell phone communications.

DATA RECORD IN ARCHIVE (5-minute average):

DOY, MMDDYY, HHMM, WSS, WSV, WD, S_THET, T_C, RH, P_mb, SR, Tint_C, Bat_V

DOY – fractional day of year;

MMDDYY – month, day, year; HHMM – ending hour, minute (MST);

WSS – scalar ave. wind speed (m/s); WSV – vector ave. wind speed (m/s);

WD – wind direction (deg true); S_THET – sigma theta (deg);

T_C – air temperature (deg C); RH – relative humidity (%);

P_mb – atmospheric pressure (mb); SR – solar radiation (W/m^2);

Tint_C – logger internal temperature (deg C); Bat_V – battery voltage (V)